## Audible Alarm (Siren
Pre‑Commissioning Checklist – Audible Alarm
Project Name:
Location:
Instrument Tag:
Instrument Type: |  | Audible Alarm (Siren)
Prepared By:
Checked By:
Approved By:
Date: |  | 2025-09-01
Activity Category | Checklist Item | Completed | Remarks
Documentation Verification | Verify tag vs. layout drawing
Documentation Verification | Check datasheet vs. installed siren
Documentation Verification | Review hazardous area certification
Mechanical Installation | Verify mounting height vs. datasheet
Mechanical Installation | Check orientation per layout
Mechanical Installation | Inspect vibration resistance
Mechanical Installation | Confirm weatherproofing
Mechanical Installation | Check accessibility for maintenance
Electrical & Cabling | Verify wiring vs. diagram
Electrical & Cabling | Check polarity and grounding
Electrical & Cabling | Inspect junction box tagging
Electrical & Cabling | Confirm gland sealing
Functional Testing | Activate siren locally
Functional Testing | Activate siren from F&G system
Functional Testing | Verify sound output vs. datasheet (dB level)
Functional Testing | Check coverage area meets design
Functional Testing | Confirm redundancy (if applicable)
Integration / Safety | Verify alarm annunciation at F&G
Integration / Safety | Check interlocks per cause & effect
Integration / Safety | Confirm fail-safe condition
Integration / Safety | Perform system walkdown
Integration / Safety | Close punch items
© Instrunexus ¦ www.instrunexus.com