## CO2 Analyzer
CO2 Analyzer Commissioning Checklist
Project Name:
Location:
Instrument Tag:
Instrument Type: |  | CO2 Analyzer
Prepared By:
Checked By:
Approved By:
Date: |  | 2025-09-01
Activity Category | Checklist Item | Completed | Remarks
Pre-Requisites | Verify pre-commissioning checklist signed off
Pre-Requisites | Confirm datasheet, calibration certificates
Pre-Requisites | Check CO2 calibration gases available
Power-Up / Energization | Energize CO2 analyzer
Power-Up / Energization | Check diagnostics clear
Power-Up / Energization | Verify PSU redundancy
Power-Up / Energization | Confirm comms with DCS
Functional Testing | Perform zero calibration with N2
Functional Testing | Perform span calibration with CO2 standard gas
Functional Testing | Verify linearity test
Functional Testing | Check alarm setpoints HH/LL
Functional Testing | Confirm DCS reading matches analyzer output
Integration & Interlocks | Verify historian logging
Integration & Interlocks | Confirm permissives linked to analyzer input
Integration & Interlocks | Check Cause & Effect trips
Safety & Compliance | Verify hazardous area compliance
Safety & Compliance | Confirm calibration gas traceability
Safety & Compliance | Close punch list items
© Instrunexus ¦ www.instrunexus.com