## Control Valve
Control Valve Commissioning Checklist
Project Name:
Location:
Instrument Tag:
Instrument Type: |  | Control Valve
Prepared By:
Checked By:
Approved By:
Date: |  | 2025-09-01
Activity Category | Checklist Item | Completed | Remarks
Pre-Requisites | Verify pre-commissioning checklist signed off
Pre-Requisites | Confirm datasheet, calibration, and actuator certificates
Pre-Requisites | Check valve tag vs. P&ID
Pre-Requisites | Verify stroke test completed in pre-commissioning
Pre-Requisites | Ensure line flushing completed
Power-Up / Energization | Energize positioner and actuator power supply
Power-Up / Energization | Verify air supply pressure within range
Power-Up / Energization | Check electrical supply to smart positioner
Power-Up / Energization | Confirm communication with DCS/PLC
Functional Testing | Perform 0-100% stroke test from DCS
Functional Testing | Verify valve travel indicator matches command
Functional Testing | Check hysteresis and repeatability
Functional Testing | Confirm fail-safe position on air failure
Functional Testing | Simulate DCS command and verify feedback
Functional Testing | Check leakage at seat and body
Integration & Interlocks | Verify control loop response with valve
Integration & Interlocks | Check interlocks linked to valve operation
Integration & Interlocks | Confirm trip logic tested
Integration & Interlocks | Verify historian trending
Safety & Compliance | Check hazardous area glands and seals
Safety & Compliance | Confirm SIL proof test record updated
Safety & Compliance | Close punch list items
© Instrunexus ¦ www.instrunexus.com