## Displacer Level Tran
Pre‑Commissioning Checklist – Displacer Level Transmitter
Project Name:
Location:
Instrument Tag:
Instrument Type: |  | Displacer Level Transmitter
Prepared By:
Checked By:
Approved By:
Date: |  | 2025-09-01
Activity Category | Checklist Item | Completed | Remarks
Documentation Verification | Verify tag vs. P&ID and instrument index
Documentation Verification | Check datasheet vs. installed transmitter
Documentation Verification | Review calibration certificate
Documentation Verification | Confirm vendor drawing cage design
Documentation Verification | Check displacer material certificate
Mechanical Installation | Verify displacer cage orientation
Mechanical Installation | Check cage isolation valves
Mechanical Installation | Confirm drain/vent connections
Mechanical Installation | Inspect float/displacer condition
Mechanical Installation | Verify guide rod alignment
Mechanical Installation | Check support brackets installed
Mechanical Installation | Confirm accessibility for removal
Electrical & Cabling | Check power supply connection
Electrical & Cabling | Verify grounding
Electrical & Cabling | Inspect junction box tagging
Electrical & Cabling | Confirm cable gland sealing
Electrical & Cabling | Check shielding continuity
Calibration / Configuration | Verify SG setting vs. datasheet
Calibration / Configuration | Check zero/span calibration
Calibration / Configuration | Simulate level change and verify output
Calibration / Configuration | Confirm alarm settings (HH, LL)
Functional & Safety Checks | Perform loop check to DCS
Functional & Safety Checks | Verify trip/alarm response
Functional & Safety Checks | Check cage leak test
Functional & Safety Checks | Confirm hazardous area compliance
Functional & Safety Checks | Close punch list items
© Instrunexus ¦ www.instrunexus.com