## H2S Analyzer
H2S Analyzer Commissioning Checklist
Project Name:
Location:
Instrument Tag:
Instrument Type: |  | H2S Analyzer
Prepared By:
Checked By:
Approved By:
Date: |  | 2025-09-01
Activity Category | Checklist Item | Completed | Remarks
Pre-Requisites | Verify pre-commissioning checklist signed off
Pre-Requisites | Confirm datasheet and calibration certificate
Pre-Requisites | Check H2S calibration gases available
Power-Up / Energization | Energize analyzer and check diagnostics
Power-Up / Energization | Verify redundant PSU switchover
Power-Up / Energization | Confirm comms with DCS
Functional Testing | Perform zero calibration with clean air
Functional Testing | Perform span calibration with H2S standard gas
Functional Testing | Verify alarm thresholds
Functional Testing | Check analyzer response time
Functional Testing | Confirm DCS reading matches analyzer output
Integration & Interlocks | Verify historian logging
Integration & Interlocks | Confirm permissives linked to analyzer input
Integration & Interlocks | Check Cause & Effect trips tested
Safety & Compliance | Verify hazardous area compliance
Safety & Compliance | Confirm calibration gas traceability
Safety & Compliance | Close punch list items
© Instrunexus ¦ www.instrunexus.com