## LOS Gas Detector
Pre‑Commissioning Checklist – Line of Sight Gas Detector
Project Name:
Location:
Instrument Tag:
Instrument Type: |  | LOS Gas Detector
Prepared By:
Checked By:
Approved By:
Date: |  | 2025-09-01
Activity Category | Checklist Item | Completed | Remarks
Documentation Verification | Verify tag vs. P&ID and layout
Documentation Verification | Check datasheet vs. installed detector
Documentation Verification | Review hazardous area certification
Documentation Verification | Confirm alignment procedure available
Mechanical Installation | Check transmitter and receiver orientation
Mechanical Installation | Verify mounting height vs. datasheet
Mechanical Installation | Confirm alignment tool availability
Mechanical Installation | Inspect vibration resistance
Mechanical Installation | Check accessibility for maintenance
Electrical & Cabling | Verify wiring vs. diagram
Electrical & Cabling | Check polarity and grounding
Electrical & Cabling | Inspect junction box tagging
Electrical & Cabling | Confirm gland sealing
Electrical & Cabling | Verify shielding continuity
Calibration / Functional Testing | Align transmitter and receiver
Calibration / Functional Testing | Check signal strength vs. datasheet
Calibration / Functional Testing | Verify obscuration alarm with target
Calibration / Functional Testing | Check response time
Calibration / Functional Testing | Confirm alarm logged in F&G cabinet
Integration / Safety | Verify alarm annunciation at F&G cabinet
Integration / Safety | Check trip signal to ESD
Integration / Safety | Confirm redundancy as per SIL design
Integration / Safety | Perform system walkdown
Integration / Safety | Close punch items
© Instrunexus ¦ www.instrunexus.com