## Pressure Gauge
Pressure Gauge Commissioning Checklist
Project Name:
Location:
Instrument Tag:
Instrument Type: |  | Pressure Gauge
Prepared By:
Checked By:
Approved By:
Date: |  | 2025-09-01
Activity Category | Checklist Item | Completed | Remarks
Pre-Requisites | Verify pre-commissioning checklist signed off
Pre-Requisites | Confirm datasheet and calibration certificate
Pre-Requisites | Check tapping point pressure tested
Functional Testing | Pressurize line and verify gauge reading
Functional Testing | Compare with master gauge
Functional Testing | Check accuracy within datasheet tolerance
Functional Testing | Verify vibration dampening (if installed)
Functional Testing | Check tagging and labeling
Safety & Compliance | Perform leak test of connections
Safety & Compliance | Verify hazardous area compliance (if electrical contact type)
Safety & Compliance | Close punch items
© Instrunexus ¦ www.instrunexus.com