## Pressure Gauge
Pre‑Commissioning Checklist – Pressure Gauge
Project Name:
Location:
Instrument Tag:
Instrument Type: |  | Pressure Gauge
Prepared By:
Checked By:
Approved By:
Date: |  | 2025-09-01
Activity Category | Checklist Item | Completed | Remarks
Documentation Verification | Verify tag vs. P&ID and instrument index
Documentation Verification | Check datasheet vs. installed PG
Documentation Verification | Review calibration/stamping certificate
Mechanical Installation | Verify tapping location
Mechanical Installation | Check siphon installed for steam service
Mechanical Installation | Inspect snubber (if required)
Mechanical Installation | Confirm dial visibility
Mechanical Installation | Check flange alignment and gasket
Mechanical Installation | Verify accessibility
Calibration / Configuration | Compare with master gauge
Calibration / Configuration | Verify scale range vs. datasheet
Calibration / Configuration | Check accuracy class compliance
Functional & Safety | Perform leak test
Functional & Safety | Check vibration dampening
Functional & Safety | Verify tagging/labeling
Functional & Safety | Close punch items
© Instrunexus ¦ www.instrunexus.com