## Temperature Gauge
Pre‑Commissioning Checklist – Temperature Gauge
Project Name:
Location:
Instrument Tag:
Instrument Type: |  | Temperature Gauge
Prepared By:
Checked By:
Approved By:
Date: |  | 2025-09-01
Activity Category | Checklist Item | Completed | Remarks
Documentation Verification | Verify tag vs. P&ID and instrument index
Documentation Verification | Check datasheet vs. installed TG
Documentation Verification | Review calibration certificate
Mechanical Installation | Verify insertion depth
Mechanical Installation | Check thermowell integrity
Mechanical Installation | Inspect accessibility
Mechanical Installation | Confirm dial orientation
Mechanical Installation | Verify readability at 1m distance
Calibration / Configuration | Compare with master thermometer
Calibration / Configuration | Verify scale range vs. datasheet
Calibration / Configuration | Check accuracy class compliance
Functional & Safety | Check response time
Functional & Safety | Verify tagging/labeling
Functional & Safety | Confirm hazardous area compliance (if electrical contact)
Functional & Safety | Close punch items
© Instrunexus ¦ www.instrunexus.com