## Thermocouple
Thermocouple Commissioning Checklist
Project Name:
Location:
Instrument Tag:
Instrument Type: |  | Thermocouple
Prepared By:
Checked By:
Approved By:
Date: |  | 2025-09-01
Activity Category | Checklist Item | Completed | Remarks
Pre-Requisites | Verify pre-commissioning checklist signed off
Pre-Requisites | Confirm datasheet and calibration certificate
Pre-Requisites | Check thermowell hydrotest complete
Pre-Requisites | Verify accessibility
Power-Up / Energization | Energize thermocouple circuit
Power-Up / Energization | Verify polarity correct
Power-Up / Energization | Confirm transmitter powered (if used)
Functional Testing | Simulate temperature using dry block
Functional Testing | Verify millivolt output accuracy
Functional Testing | Check cold junction compensation
Functional Testing | Verify alarm setpoints HH/LL
Functional Testing | Perform loop check to DCS
Integration & Interlocks | Verify permissives linked to TC input
Integration & Interlocks | Confirm historian trending
Safety & Compliance | Verify hazardous area compliance
Safety & Compliance | Close punch items
© Instrunexus ¦ www.instrunexus.com