## Ultrasonic Level Tra
Ultrasonic Level Transmitter Commissioning Checklist
Project Name:
Location:
Instrument Tag:
Instrument Type: |  | Ultrasonic Level Transmitter
Prepared By:
Checked By:
Approved By:
Date: |  | 2025-09-01
Activity Category | Checklist Item | Completed | Remarks
Pre-Requisites | Verify pre-commissioning checklist signed off
Pre-Requisites | Confirm datasheet and calibration certificates
Pre-Requisites | Check nozzle orientation free of obstructions
Pre-Requisites | Verify tank geometry entered
Power-Up / Energization | Energize ultrasonic transmitter and check diagnostics
Power-Up / Energization | Verify redundant PSU operation
Power-Up / Energization | Confirm communication with DCS/PLC
Functional Testing | Simulate empty and full tank conditions
Functional Testing | Verify echo profile setup
Functional Testing | Check false echo suppression configured
Functional Testing | Confirm HH/LL alarm thresholds
Functional Testing | Verify span vs. design range
Integration & Interlocks | Verify permissives linked to ultrasonic level input
Integration & Interlocks | Confirm Cause & Effect trip tested
Integration & Interlocks | Check historian trending
Safety & Compliance | Verify hazardous area compliance
Safety & Compliance | Check NE43 fail-safe response
Safety & Compliance | Confirm proof test recorded
Safety & Compliance | Close punch items
© Instrunexus ¦ www.instrunexus.com